{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1","index":0,"n_rows":77,"n_cols":9,"rows_kept":77,"merged":[[0,0,0,8],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,3,2,3],[1,4,2,4],[1,5,1,8],[3,1,3,2],[22,1,22,2],[33,1,33,2],[39,1,39,2],[50,1,50,2],[55,1,55,2],[72,1,72,2],[72,3,72,7],[73,1,73,2],[73,3,73,7],[74,1,74,2],[74,3,74,7],[75,1,75,2],[75,3,75,7],[76,0,76,8]],"flags":["formulas_cached_only"]}
["        木兮里消防项目清单   面积：2090㎡                   "]
["序号","项目名称","项目特征描述","计量                                                                                                                                                           单位","工程量","金 额(元)"]
[{"$nulls":5},"人工费                                                                                                                                                          单价","主材                                                                                                                                                           单价","综合                                                                                                                                                          单价","合价"]
["1"," 消防自动报警系统"]
["2","感烟探测器","1.名称：感烟探测器移位                 2.型号：JTY-GD-G3","个",27]
["3","感温探测器","1.名称：感温探测器新增\n2.型号：JTW-ZCD-G3N","个",2]
["4","消防广播","1.名称：消防广播移位\n2.型号：3W","个",3]
["5","模块","1.名称：切电模块新增\n2.型号：GST-LD-8301","个",2]
["6","模块","1.名称：输入/出模块新增\n2.型号：GST-LD-8301","个",3]
["7","模块","1.名称：输入模块新增\n2.型号：GST-LD-8300","个",12]
["8","模块","1.名称：输入/出模块移位\n2.型号：GST-LD-8301","个",3]
["9","按钮","1.名称：消火栓按钮移位\n2.型号：J-SAM-GST9123","个",1]
["10","隔离器","1.名称：隔离器新增\n2.型号：GST-LD-8313","个",1]
["11","电气配线","1.名称：信号线\n2.配线形式:管内穿线\n3.导线型号、材质、规格:NH-RVS-2*1.5","m",321]
["12","电气配线","1.名称：电源线\n2.配线形式:管内穿线\n3.导线型号、材质、规格:NH-BV-1*2.5","m",354]
["13","电气配线","1.名称：广播线\n2.配线形式:管内穿线\n3.导线型号、材质、规格:NH-RVS-2*1.5","m",62]
["14","穿线管","1.名称：穿线管\n2.规格：φ16","m",206]
["15","穿线管","1.名称：穿线管\n2.规格：φ20","m",177]
["16","软管","1.名称：金属软管\n2.规格：φ16","m",100]
["17","辅材费","1.名称:火灾自动报警系统辅材费","项",1]
["18","自动报警系统装置调试","1.名称：自动报警系统调试\n2.备注：消防并网增加回路、模块等以及编码、调试费用","系统",1]
["19","合计"]
["20"," 喷淋系统"]
["21","喷头","1.名称：普通喷头新增","个",136]
["22","喷头","1.名称：93°喷头新增","个",4]
["23","喷头","1.名称：上喷头移位","个",9]
["24","水喷淋镀锌钢管","1.安装部位（室内、外）:室内\n2.材质:镀锌钢管\n3.型号、规格:DN25\n4.连接方式:螺纹连接","m",473]
["25","水喷淋镀锌钢管","1.安装部位（室内、外）:室内\n2.材质:镀锌钢管\n3.型号、规格:DN32\n4.连接方式:螺纹连接","m",38]
["26","水喷淋镀锌钢管","1.安装部位（室内、外）:室内\n2.材质:镀锌钢管\n3.型号、规格:DN40\n4.连接方式:螺纹连接","m",4]
["27","水喷淋镀锌钢管","1.安装部位（室内、外）:室内\n2.材质:镀锌钢管\n3.型号、规格:DN50\n4.连接方式:螺纹连接","m",3]
["28","水喷淋镀锌钢管","1.安装部位（室内、外）:室内\n2.材质:镀锌钢管\n3.型号、规格:DN65\n4.连接方式:螺纹连接","m",3]
["29","辅材费","1.名称：喷头改造辅材费","项",1]
["30","合计"]
["31"," 消火栓系统"]
["32","消火栓镀锌钢管","1.安装部位（室内、外）:室内\n2.材质:镀锌钢管\n3.型号、规格:DN65\n4.连接方式:螺纹连接","m",15]
["33","消火栓移位","1.安装部位（室内、外）:室内\n2.型号、规格:单栓65\n3.单栓、双栓:单栓","套",1]
["34","阀门","1.名称：蝶阀\n2.型号：DN65","个",1]
["35","辅材费","1.名称：消火栓系统辅材费","项",1]
["36","合计"]
["37"," 排烟系统"]
["38","排烟口","1.名称：排烟口新增                  2.型号：（800mm+250mm）*600mm","个",3]
["39","排烟口移位","1.名称：排烟口移位","个",3]
["40","280°防火阀","1.名称：280°防火阀新增                    2.型号：800mm*320mm","个",9]
["41","280°防火阀","1.名称：280°防火阀新增                    2.型号：1000mm*320mm","个",3]
["42","常开百叶风口","1.名称：常开百叶风口新增                    2.型号：400mm*400mm","个",9]
["43","风管","1.名称：风管新增                   ","㎡",146]
["44","排烟口拆除封堵","1.名称：排烟口拆除封堵","个",6]
["45","送风系统移位","1.名称：送风系统移位                    2.备注：含一个送风口和风管移位","项",1]
["46","辅材费","1.名称：排烟系统辅材费","项",1]
["47","合计"]
["48"," 挡烟垂壁"]
["49","挡烟垂壁","1.名称： 挡烟垂壁新增（玻璃）                  ","m",98]
["50","挡烟垂壁","1.名称： 挡烟垂壁新增（无机布）                  ","m",115]
["51","辅材费","1.名称：挡烟垂壁辅材费","项",1]
["52","合计"]
["53","智能型应急照明系统"]
["54","应急照明控制器","1.名称：应急照明控制器新增                   ","台","1"]
["55","集中电源","1.名称：集中电源新增                   ","台","1"]
["56","智能型吸顶应急照明灯","1.名称：智能型吸顶应急照明灯新增                    2.型号：5W","个",66]
["57","智能型壁挂安全出口灯","1.名称：智能型壁挂安全出口灯新增                    2.型号：1W","个",11]
["58","智能型吊装双面多信息复合标志灯","1.名称：智能型吊装双面多信息复合标志灯新增                    \n2.型号：1W","个",4]
["59","智能型吊装双面双向疏散指示灯","1.名称：智能型吊装双面双向疏散指示灯新增                    \n2.型号：1W","个",3]
["60","智能型吊装双面单向疏散指示灯","1.名称：智能型吊装双面单向疏散指示灯新增                    \n2.型号：1W","个",16]
["61","智能型壁装疏散指示灯","1.名称：智能型壁装疏散指示灯新增                    2.型号：5W","个",7]
["62","智能型单向地面指示灯","1.名称：智能型单向地面指示灯新增                    2.型号：1W","个",62]
["63","吊绳","1.名称：吊绳新增                   ","个",23]
["64","电气配线","1.名称：应急照明线\n2.配线形式:管内穿线\n3.导线型号、材质、规格:NH-RVS-2*2.5","m",1257]
["65","电气配线","1.名称：通讯线(报警主机到应急主机，应急主机到集中电源）\n2.配线形式:管内穿线\n3.导线型号、材质、规格:NH-RVS-2*1.5","m",150]
["66","电气配线","1.名称：24v电源线\n2.配线形式:管内穿线\n3.导线型号、材质、规格:NH-BV-2.5","m",150]
["67","穿线管","1.名称：穿线管\n2.规格：φ16","m",150]
["68","穿线管","1.名称：穿线管\n2.规格：φ20","m",1257]
["69","智能应急照明系统辅材费","1.名称：智能应急照明系统辅材费                  ","项",1]
["A","各项合计"]
["B","税金",null,"%"]
["C","管理费",null,"%"]
["D","工程总造价",null,"A+B+C"]
["备注:不含泄水费、电气火灾系统和电源监控系统。"]